CL-ST-H

|  |
| --- |
| CHECKLIST for omission of temperature rise tests |
| Date:  |
| Nippon Kaiji Kyokai Branch Office | Manufacturer name:  |
| Representative starters: |  |
| Factory |  | Representative starters test date:  |
| Item□ Starters□ A.C. motor□ D.C. motor□ Controlgear | Capacity: [kW] Rated voltage: [V] Control circuit voltage: [V]Main circuit load current: [A]Motor starting system: Direct input / Star-delta / Voltage dropExternal dimensions: x x [mm]Opening area: [m2]Main circuit-breakers: Type Rating (Manufacturer: )Electromagnetic contactors: Type Rating (Manufacturer: )In-board mounting devices (Transformers, relays, etc.) total power consumption: [W] |
| Test result list no.:  |
| Drawing no.:  |
| The items for omission of temperature rise tests, etc. in 2.8.4, Part H of the Rules [compared to representative starters](Check if applicable) |
| Ship builder: Hull number: Intended use: Serial number(s):  | Identical | Almost identical |
| 1 | Capacity: [kW] Rated voltage: [V] (Control circuit voltage: [V])Degree of protection: Motor starting system: Direct input / Star-delta / Voltage drop | □ |  |
| 2 | Main circuit load current: [A] | □ | □ |
| 3 | Main circuit-breakers (or electromagnetic contactor) type and rating (manufactures) | □ |  |
| 4 | Cooling vent opening arear: [m2] | □ |  |
| 5 | Containers (boards, boxes, etc.) external dimensions, internal volume and ventilation method | □ | □ |
| 6 | Main circuit conductor dimensions, layout, connections and terminal structure | □ | □ |
| 7 | In-board mounting devices (Transformers, relays, resistors, etc.) arrangement | □ | □ |
| Total power consumption: [W] | □ | □ |
| 8 | Rectifiers [selenium, semiconductors, other: ] and ratingReactors type and rating | □ |  |
| 9 | The use of subcontracted products is managed by incoming inspection standards | □ |  |
| Key working standards, equipment, and operator skills with respect to the production method remain the same or have been improved. | □ |  |
| The facilities, procedures and criteria for testing and inspection are under sufficient management. | □ |  |
|  | As stated above, we certify that the , which are surveyed in this time, is of the same type, manufactured at the same factory and by the same production method as the representative starters mentioned above. |  |
|  |  |  |  |
|  |  |  | Testing and Inspection Director:  |